Infusion Devices - Ambulatory:
Abbott APM II

| The Abbott Pain Manager II (APM II) is a single-channel infusion pump that delivers analgesia to patients in the hospital, in outpatient treatment centers, and in the home. Dimensions: 6.75H x 4.0W x 2.3D in (17.1 x 10x2 x 5.8 cm), Weight: Approximately two pounds (1.0kg) Power Sources: AC: Wall plug-in AC power supply List 13036 with 12 foot (3.6 meters) cord and molded plug. Input: 115 VAC, 60 Hz, 0.18A. Output: 12 VDC, 400 mA. Battery: Two 9-V batteries |  |  |
| --- | --- | --- |
| Operating Range: Volume:; Minimum: 0.1 mL Maximum: 1000 mL. Bolus & PCA:; Minimum: 0.1 mL Maximum: 25.0 mL. Lockout Time:; 5 to 999 minutes. Loading Dose:; Minimum: 0.1 mL Maximum: 25.0 mL. |