### Aeros Moblvac III CS Portable Suction Unit, 757000 ### Refurbished, 1 year warranty ### Product Specifications Vacuum Range: 0 to 550mm Hg Free Air Flow: 38 LPM minimum Pump: Fan cooled rotary carbon vane type Canister: Disposable plastic with mechanical shutoff Capacity:1200cc standard Tubing:14" with bacterial filter Vacuum Regulator: Rotary type on panel Vacuum Gauge: Calibrated in mm Hg AC: - - 120 volts, 60 Hz, 3A - - 220 volts, 50 Hz, 2A Weight: 32 lbs Dimensions: 28"H x 14"W x 16"D