- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Baxter AS50 Syringe Pump # Refurbished, 1 year warranty PRODUCT SPECIFICATIONS. Dimensions:; Approx. 3.4"W x 2.6"D x 10"H. Weight:; Approx. 3.2 lbs.. Flow Rate Accuracy:; ± 3% of full scale plunger travel (not including syringe tolerance). Volume Accuracy:; ± 3%, or 0.007" of travel, whichever is greater (not including syringe tolerance). Syringes:; B-D: 1, 3, 5, 10, 20, 30, 60 mL plastic Monoject: 1, 3, 6, 12, 20, 35, 60 mL Terumo: 1, 3, 5, 10, 20, 30, 60 mL. Flow Rate Range:; 0.01 mL/hr to 438 mL/hr, depending on the syringe. Delivery Volume:; Full syringe volume for 1-60 mL syringes. Data Display:; Self-prompting, multi-field LCD (Liquid Crystal Display). Status Display:; Nine-LED (Light Emitting Diode) array. Power Requirements:; AC: 105-125V 60 Hz (battery charger) DC: internal rechargeable battery pack. Battery Operating Time:; 5 hours of operation at 100 mL/hr, or 12 hours of operation at 2 mL/hr using a 60 mL syringe, following a charge of not less than 16 hours.. Temperature Range:; 50º F to 104º F (10º C to 40º C) Delivery of high viscosity fluids at low temperatures is not recommended. Keypad:; Elastomeric type, with tactile feedback. Construction:; Water-resistant, high-impact plastic case with removable protective bumpers.