- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Baxter I-Pump Ambulatory Pump # Refurbished, 1 year warranty SPECIFICATIONS. Modes of Operation:; PCA, Basal + PCA, and Continuous. Range of Flow Rates:; 0.1 - 90.0 ml/hr in 0.1 ml increments. Flow Rates:; Basal Rate: 0.1 - 9.9 ml/hr Continuous Rate: 0.1 - 19.9 ml/hr PCA Dose, Bolus, and Priming Rate: 90 ml/hr Bolus: 0 - 49.9 ml/dose PCA: 0 - 9.9 ml/dose. Power Source:; 9-Volt Alkaline Battery or AC Power Supply. AC Power Requirements:; 100-120 VAC, 50/60 Hz. Dimensions:; 4.9" H x 3.4" W x 1.8" D without Fluid Bag Cover. Weight:; Approximately 1 pound.