- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Kangaroo PET Enteral Pump # Refurbished, 1 year warranty PRODUCT SPECIFICATIONS. Dimensions:; 5.75"H x 3.81"W x 2"D pump only 6.25"H x 4.5"W x 4.6"D with charger. Weight:; 1.4 pounds pump only 2 pounds with charger. Battery:; Rechargeable. Charge Time:; "Quick Charge" in 6 hours. Battery Life:; 14 hours at 125 ml/hr. Operating Range:; 1-75 ml/hr in 1 ml/hr increments 75-400 ml/hr in 5 ml/hr increments. Accuracy:; ±10%.