- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Kendall 6325 SCD # Refurbished, 1 year warranty PRODUCT SPECIFICATIONS. Dimensions:; 6"H x 10.75"W x 4.5"D. Weight:; 9 pounds. Power Requirements:; 115 VAC, 86 VA, 60 Hz. Compression Type:; Sequential, Gradient Pressure. Compression Cycle:; 11 seconds compression, 60 seconds decompression. Set Pressure:; 45 mmHg. Sleeve Cooling:; Yes. Cycle Monitor:; Yes. Bed Hook:; Yes. Alarms:; Low Pressure, High Pressure, Internal Malfunction.