- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Medex Medfusion 3500 # Refurbished, 1 year warranty PRODUCT SPECIFICATIONS. Dimensions:; 10.5"W x 5.1"H x 5.5"D. Weight:; 3.8 lbs without pole clamp. Accuracy:; ±2% excluding syringe variations. Flow Rate Range:; 0.01 ml/hr to 1130 ml/hr depending on syringe size. Delivery Modes:; ml/hr, body weight, mass, volume over time, customer dilution, and intermittent. Delivery Options:; Loading Dose, Bolus Dose, Standby, Volume Limit, and KVO Rate. Power:; 100 to 240 VAC, 50/60 Hz, 30VA Internal rechargeable battery Optional external DC Input, 6-14 VDC, 7 Watts Safety Class II - Type CF. Internal Battery Capacity:; 10 hours at 5.0 ml/hr with 60 ml syringe. User Defined Delivery Libraries:; Four Libraries with 16 profiles per library. MR Tested:; May be used in MRI Rooms with static magnetic fields up to 150 gauss. Options:; PharmGuard™ Error Reduction Software for programmable limits.