- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

# Ross Medical Patrol Enteral Pump # Refurbished, 1 year warranty PRODUCT SPECIFICATIONS. Dimensions:; 8.25"H x 7.5"W x 6"D. Weight:; 7.2 pounds. Operating Range:; 1-300 ml/hr in 1 ml/hr increments. Accuracy:; ±10%. Power:; 100-130 VAC, 47-63 Hz, 4 Watts. Battery:; Rechargeable sealed lead-acid. Recharge Time:; 8 hours turned off; 12 hours running. Battery Life:; 8 hours at 125 ml/hr when fully charged.