- Technical Sheet

Click here to email us, or call (972) 961-4655 to speak to a sales representative.

## Ross Medical Quantum Enteral Pump ## Refurbished, 1 year warranty ## Product Description The Ross Quantum Enteral Pump offers the unique ability to flush the enteral feeding set and indwelling feeding tube each hour with a 25 ml. flush solution. It also offers automatic priming, dose limit, volume accumulations for both enteral and flush solutions. ### FEATURES: - Rotary peristaltic operation. - Rate Parameters: 1-300 ml/hr in 1 ml incr. - Occlusion Pressure: 15 PSI - Accuracy: ± 10% or ± 0.5 ml, whichever is greater - BatteryLife: 8 hours at 125 ml/hr. - Recharge Time: 8 hours - Alarms: Occlusion, Empty, Dose Complete, Low Battery, Door/Cassette, Set Rate